# ATTACHMENT A

# SCOPE OF WORK

Project Name: NCSD - Tonopah High School Sports Field Replacement

CORE Project No: 26-01-019

Subcontractor:

Prewitt Land Surveying

803 Pebble Beach Drive
Boulder City, NV 89005

Phone: 702-649-8790

Contact Person: Thomas L. Prewitt, PLS

Email: TBD

# LUMP SUM PRICE FOR LABOR, MATERIAL, TAX, AND FREIGHT	     $80,767.50

# No Bond Included

Subcontractor has accounted for, as part of this lump sum Subcontract, any and all potential material, equipment, and labor cost increases over the course of the Project, unless otherwise noted in the Scope of Work.

SCOPE OF WORK:

- Subcontractor shall perform the Scope of Work generally described as:

Surveying, Layout & Staking

- Subcontractor shall provide a complete turnkey, (i.e., furnish and install), Scope of Work in accordance with Contract Documents to include, but not be limited to:

  - Subcontractor is required to supply Contractor with a material and equipment procurement log as it applies to Subcontractor’s Scope of Work.  Such material and equipment procurement log will show in detail the material product, date ordered, shipping date, and date of delivery to the Project site. Subcontractor shall provide documentation from each manufacturer and/or distributor confirming the dates shown on the procurement log.  Subcontractor agrees to update such procurement log and shall transmit either in hard copy or electronic format to the Contractor, on a bi-weekly basis, or more frequently as reasonably required by Contractor.

  - Subcontractor shall provide to Contractor cost flow projections monthly including computations and projections related to this Scope of Work. Projections shall include costs from and related to, manpower, coordination, supervision, equipment, and material for completing this Scope of Work.

  - Survey - Provide all materials, labor, equipment, and supervision for a complete Scope of Work per plans and specifications. This Scope of Work shall include, but not be limited to:

    - Perform all calculations and prepare the staking plan for all layout work from the Civil Engineer's CAD background files.

    - Verify horizontal and vertical control points and provide all control survey work for the entire Project, including 3 GPS control points.

    - Provide and maintain all onsite control points and benchmarks.

    - Verify existing tie-in grades match the grading plans, and verify offsite elevations against the Civil Engineer's CAD file.

    - Notify Contractor of any offsite elevation discrepancies within two weeks of Notice to Proceed.

    - Provide record as-built survey documentation for all new site wet and dry utilities.

    - Provide a Project Monument Survey at completion of the Project, as required by the Owner.

  - Layout & Staking - Provide all materials, labor, equipment, and supervision for a complete Scope of Work per plans and specifications. This Scope of Work shall include, but not be limited to:

    - Stake Contractor's staging and parking area corners.

    - Stake demolition limits and rough grade for all site improvements.

    - Stake all utility work, including domestic water, irrigation mains and RPPAs, sanitary sewer, and storm sewer systems.

    - Includes drainage staking for the synthetic turf field, running track, and sand pit systems.

    - Includes electrical and low voltage ductbanks, vaults, pedestals, transformers, and site lighting, including sports field lighting; coordinate locations with Electrical & Low Voltage Subcontractor.

    - Coordinate utility staking with Earthwork, Paving, Wet Utilities & Site Demo Subcontractor prior to trenching and installation.

    - Stake natural gas piping from the meter location and all other known or located underground utilities.

    - Stake rough grade for building pads at corners and on a 40' minimum grid, including redheads and blue tops.

    - Provide sawcut limits for all curbs, gutters, and paving to be removed.

    - Provide Certified Building Pad documentation and Finished Floor monument and elevation certification.

    - Stake all building grid lines, transferring vertical grid lines to top of footing and slab on grade.

    - Provide redheads and bluetops for the asphalt running track at 50' intervals, and stake finish grades at the same interval.

    - Provide final staking for curb and gutter, sidewalks, and flatwork.

    - Stake rough grade for the entire site at 100' intervals, including grade breaks, angle points, and curb transitions.

    - Stake all site concrete, including curbs, gutters, sidewalks, and equipment and utility pads.

    - Stake site amenities, including the running track, synthetic turf field, bleachers, press box, ticket booth, scoreboard poles, and chain link fencing.

    - Includes staking for track text, lane staggering stripes, track and field event striping, and synthetic turf field logo layout.

    - Stake athletic equipment, including goal posts, pole vault, high jump, discus and shot put rings and toeboards, discus cage, long jump board, and soccer goals.

    - Stake sports field lighting and flagpoles.

    - Include as-built survey monuments as record of survey.

  - General Scope Requirements

    - Provide an hourly rate breakdown with the Proposal.

    - Coordinate staking sequence with Contractor's Preliminary Construction Schedule and Phased Logistics Plan.

- Subcontractor has accounted for, as part of this lump sum Subcontract, the fact that the Contract Documents may not contain all required details, parts, or pieces necessary to provide a complete and functioning system.  Therefore, it is Subcontractor’s responsibility to make reasonably inferable assumptions and allowances, as part of its lump sum proposal, to help account for the design intent and ensure that all elements associated with the Scope of Work comply with all governing codes and regulations.

SCOPE OPTIONS:

- None.

CONSTRUCTION DOCUMENTS:

- Subcontractor shall adhere to all Project specifications within the Project Manual and all Project drawings as referenced in the Attachment C – Enumeration of Documents section of this Subcontract, specifically referencing the following:

- Provide all labor, material, equipment, and services required to furnish and install all items included in the division(s) of the Project Manual listed below, as related to Subcontractor’s Scope of Work:

- Division 00 – Procurement and Contracting Requirements

- Division 01 - General Requirements

- Provide all labor, material, equipment, and services required to furnish and install all items included in the section(s) of the Project Manual listed below, as related to Subcontractor’s Scope of Work:

- All construction documents referenced in the Attachment C – Enumeration of Documents portion of this Subcontract can be downloaded from the following location:

- Procore – 5 – 26-01-019 - NCSD - Tonopah HS Sports Field Phs'd Replacement

- Invite to be sent to Project team

- Password: Subcontractor generated

Contractor will be using Procore web-based software on this Project to maintain an electronic set of As-Built Documents.  Subcontractor is to furnish electronically all As-Built documents, appropriate warranties and guarantee information, equipment manuals, operations, and maintenance manuals, all of which are a condition to achieving final completion and to receiving final payment.  A Project within Procore has been created for this Project and access will be given to Subcontractor.  All construction documents will be accessible to Subcontractor through Procore.  It will be the responsibility of Subcontractor to create As-Built documents electronically in the field in lieu of providing hard copies.  Contractor will provide training and support on Procore to Subcontractor.

To obtain access, Subcontractor must go to the Procore Software site (www.procore.com) and create a login.  Subcontractor shall create a Username and Password then send a corresponding email address to Contractor’s Project Manager; Contractor’s Project Manager will then email Subcontractor with an invitation to the Project in Procore.  Subcontractor may request additional instructions on how to create a login and Contractor’s Construction Technology department will provide assistance.

- Subcontractor shall adhere to all miscellaneous Project modifications, specifically referencing the following directives:

- Addendum #01 - Provide all material, equipment, and services as required to furnish and install all items included in directive, as they relate to the Scope of Work.

- Clarification #01 - Provide all material, equipment, and services as required to furnish and install all items included in directive, as they relate to the Scope of Work.

- Clarification #02 - Provide all material, equipment, and services as required to furnish and install all items included in directive, as they relate to the Scope of Work.

PROJECT SPECIFIC PROVISIONS:

- Subcontractor shall provide multiple mobilizations as required to complete the Scope of Work as per the dates set forth on the monthly baseline and weekly look-ahead schedules.

- Subcontractor’s foreman, at a minimum, shall attend all daily huddle, weekly work plan, and three phased QAQC plan meetings, which occur a reasonable time before and for the duration of the Subcontract Work on the Project.

- All Submittals shall be submitted in electronic format online using Procore.  Contractor may also request up to six (6) physical hard copies of all submittals.

- Subcontract pricing is based on tariff and/or duties rates in effect as of the date of this Subcontract.  If a net increase in tariffs and/or duties causes a net cost increase on materials, equipment, or products directly required to perform the Subcontract Work, the Subcontractor shall be entitled to a reasonable adjustment to the Subcontract Price to the extent the Prime Contract entitles Contractor to compensation for such increase and then only to the extent of any amount that Contractor may, on behalf of Subcontractor, recover from Owner.  To the extent applicable, any provisions regarding tariff changes in the Prime Contract shall flow down to this Subcontract. Subcontractor must supply reasonable documentation of proof of tariff and/or duties increase and cost impact between the date of this Subcontract and the date of said cost increase, based on an industry approved index associated with that of the affected material. Subcontractor must provide written notice of the cost impact and supporting documentation to Contractor within 7 calendar days of becoming aware. >Do Not Edit this paragraph you can delete all of it or keep all of it KH<

EXCLUSIONS:

- The following items are specifically excluded from the Subcontractor’s Scope of Work:

- Building permits

- Bonds

- Pre-design topographic and existing conditions survey

- Offsite power service trunk and main lines

DRAFT REVIEW ONLY - DELETE BEFORE ISSUE

This page is not part of the Subcontract and is not Scope of Work.

RULE 14 REVIEW - obligations removed from the Scope of Work above

This package has no CSI spec section, so almost nothing here duplicates a technical specification the way it would on a package with one. The single item below duplicates this Attachment A's own PROJECT SPECIFIC PROVISIONS rather than the Project Manual or Drawings.

A.  Already stated in this Attachment A's own Project Specific Provisions

Restating these creates a second, weaker copy of the same obligation.

☐  Include multiple mobilizations as may be required per the Preliminary Construction Schedule and Phased Logistics Plan.

already stated in: Scope of Work #007 narrative, General Scope Requirements; already carried by this Attachment A, PROJECT SPECIFIC PROVISIONS paragraph 94 (Mobilizations), which prints 'multiple mobilizations'